## Test Scenarios
Base File Format: Single Formula; Multiple Lens; Both Eyes; No Manual Data Changes
ID | Description | Status | Specific Tests | Sample DICOM Files | Patient ID | Sex | First Name | Last Name | DOB | Status | Comments
1 | Base File Formats Import Correctly
1.1 | Base file format | Required | Biometry data copied to correct fields Left eye data in left eye; right eye data in right eye Single formula available in formula drop-down Multiple lenses available in drop-down Date correct Biometry correct Lens / formula options correct A constants correct All lens power & predictions correct | 1.2.276.0.75.2.1.10.0.2.150909105354671.15295058.30971_0000_000001_14417921130053.dcm | 1009600 | F | Demi | Meyers | 1978-04-26
1.2 | Base file format - multiple forumlae - single lens | Required | Biometry data copied to correct fields Left eye data in left eye; right eye data in right eye Multiple formulae available in formula drop-down Single lens available in drop-down Date correct Biometry correct Lens / formula options correct A constants correct All lens power & predictions correct | 1.2.276.0.75.2.1.10.0.2.150925135344343.15295058.6463_0000_000001_144318563400b7.dcm | 1009601 | F | Jennifer | Payne | 1953-01-11
1.3 | Base file format - LEFT eye only | Required | Biometry data copied to correct fields Left eye data in left eye; no data in right eye Single formula available in formula drop-down Multiple lenses available in drop-down "No lens calcualtions" warning should not display Date correct Biometry correct Lens / formula options correct A constants correct All lens power & predictions correct | 1.2.276.0.75.2.1.10.0.2.151102184903343.15295058.14365_0000_000001_14464901580115.dcm | 1007940 | F | Maggie | Brickman | 1976-01-12
|  |  |  | 1.2.276.0.75.2.1.10.0.2.150923132051593.15295058.9276_0000_000001_14430110370074.dcm | 1007931 | F | Pippa | Westmacott | 1921-11-05
1.4 | Base file format - RIGHT eye only | Required | Biometry data copied to correct fields No data in left eye; right eye data in right eye Single formula available in formula drop-down Multiple lenses available in drop-down "No lens calcualtions" warning for LEFT eye | 1.2.276.0.75.2.1.10.0.2.150401094711265.15295058.11684_0000_000001_14278782040049.dcm | 1007915 | F | Theodora | Broom | 1941-05-02
1.5 | Base file format - multiple forumlae - multiple lens | Do Not Test | Biometry data copied to correct fields Left eye data in left eye; right eye data in right eye Miltple formulae available in formula drop-down Multiple lenses available in drop-down Date correct Biometry correct Lens / formula options correct A constants correct All lens power & predictions correct | N/A
1.6 | Base file format - 2 or more x lens calculation pages | Required | Biometry data copied to correct fields All lenses availabe in lens drop-down All formulae available in formula drop-down Date correct Biometry correct Lens / formula options correct A constants correct Lens power & predictions correct (top, bottom, middle, all lens / formula combinations) | 1.2.276.0.75.2.1.10.0.2.150909105354671.15295058.30971_0000_000001_14498340000013.dcm | 1008006 | F | Moira | Christmas | 1941-02-21
|  |  |  | 1.2.276.0.75.2.1.10.0.2.150925111615937.15295058.118_0000_000001_144317606200ac.dcm | 1009602 | M | Nathanael | Charlesworth | 1925-12-09
|  |  |  | 1.2.276.0.75.2.1.10.0.2.151215150130968.15295058.11119_0000_000001_14501915840012.dcm | 1009603 | F | Bridget | Payne | 1933-11-27
1.7 | Base file format - less than 4 lenses selected | Required | Biometry data copied to correct fields Single formula available in formula drop-down Correct lenses available in lens drop-down Ensure correct number of lenses & formulae are displayed Ensure blank lens / formula blocks are omitted | 1.2.276.0.75.2.1.10.0.2.150925110222375.15295058.1554_0000_000001_144317555300a9.dcm | 1008007 | F | Lillian | Crouch | 1973-01-27
1.8 | Base file format - eyes on different pages | Required | Biometry data copied to correct fields Left eye data in left eye; no data in right eye Single formula available in formula drop-down Multiple lenses available in drop-down Biometry correct Lens / formula options correct A constants correct Lens power & predictions correct (top, bottom, middle, all lens / formula combinations) | 1.2.276.0.75.2.1.10.0.2.150731171549390.15295058.23522_0000_000001_14383597240035.dcm | 1007921 | M | Victor | Stephenson | 1962-09-09
1.9 | Base file format - no lens data | Required | Biometry data copied to correct fields Left eye data in left eye; right eye data in right eye No lens or formula data Clear warning that lenses need to be calculated on device | 1.2.276.0.75.2.1.10.0.2.150609120420625.15295058.21701_0000_000001_143385387600c5.dcm | 1007918 | M | Edmund | Neilson | 1961-06-27
1.10 | Multiple files: 1. Base file format (no lens data) followed by 2. Base file format (with lens data) | Required | Results should be the same no matter what order the files are imported - most recent values should always be kept. Note test PAIR1 has them in the right order; test PAIR2 has them in the wrong order. | PAIR1_1.2.276.0.75.2.1.10.0.2.150731171549390.15295058.23522_0000_000001_14383595620034.dcm followed by PAIR1_1.2.276.0.75.2.1.10.0.2.150731171549390.15295058.23522_0000_000001_14383597240035.dcm | 1007920 | M | Bertram | Blakey | 1976-01-19
|  |  |  | PAIR2_1.2.276.0.75.2.1.10.0.2.151117131916218.15295058.20815_0000_000001_14477661630025.dcm followed by PAIR2_1.2.276.0.75.2.1.10.0.2.151117131916218.15295058.20815_0000_000001_14477661920024.dcm | 1007942 | F | Alexandra | Cresswell | 1927-09-27
1.11 | Base file format - HofferQ formula | Required | Biometry data copied to correct fields Left eye data in left eye; right eye data in right eye Single formula available in formula drop-down Multiple lenses available in drop-down | 1.2.276.0.75.2.1.10.0.2.150730144435359.15295058.931_0000_000001_14386161070010.dcm | 1007919 | F | Lucretia | Witter | 1952-05-22
|  |  |  | 1.2.276.0.75.2.1.10.0.2.151130164926500.27553_0000_000001_1448898761000b.dcm | 1007943 | F | Ruby | Bradley | 1929-01-17
1.12 | Base file format - Haigis-L formula | Optional - should not be using this formula at MEH | Biometry data copied to correct fields Left eye data in left eye; right eye data in right eye Single formula available in formula drop-down Multiple lenses available in drop-down | 1.2.276.0.75.2.1.10.0.2.150910141835062.15295058.25364_0000_000001_14418912110087.dcm | 1007927 | M | Bobby | FitzGerald | 1972-10-08
1.13 | Multiple files, incorrect SERIES UID 1. Base file format (no lens data) followed by 2. Base file format (with lens data) | Required | Files should not merge - should result in two separate events | PAIR3_1.2.276.0.75.2.1.10.0.2.150731171549390.15295058.23522_0000_000001_14383595620034.dcm followed by PAIR3_1.2.276.0.75.2.1.10.0.2.150731171549390.15295058.23522_0000_000001_14383597240035.dcm | 1009604 | F | Pauline | Conant | 1940-11-17
1.14 | Multiple files, incorrect STUDY UID 1. Base file format (no lens data) followed by 2. Base file format (with lens data) | Required | Files should not merge - should result in two separate events | PAIR4_1.2.276.0.75.2.1.10.0.2.150731171549390.15295058.23522_0000_000001_14383595620034.dcm followed by PAIR4_1.2.276.0.75.2.1.10.0.2.150731171549390.15295058.23522_0000_000001_14383597240035.dcm | 1009605 | M | Gerard | Birkin | 1964-09-12
1.15 | Base file format - Holladay 2 formula | Optional - should not be using this formula at MEH | Biometry data copied to correct fields Left eye data in left eye; right eye data in right eye Single formula available in formula drop-down Multiple lenses available in drop-down | 1.2.276.0.75.2.1.10.0.2.160120100032531.15295058.28071_0000_000001_14538170750047.dcm | 1009409 | F | Michaela | Beazley | 1924-09-10
1.16 | Multiple files, AL changes 1. Base file format followed by 2. Same file with AL changed manually | Required | First file should import normally. Second file should OVERWRITE first file lens calculations | PAIR6a_1.2.276.0.75.2.1.10.0.2.160128101311046.15295058.19379_0000_000001_1453976080001b.dcm followed by PAIR6b_1.2.276.0.75.2.1.10.0.2.160128101311046.15295058.19379_0000_000001_1453976330001e.dcm | 1009410 | M | Ryan | Fisher | 1956-11-05
1.17 | Multiple files, K changes 1. Base file format followed by 2. Same file with K1or K2 changed manually | Required | First file should import normally. Second file should OVERWRITE first file lens calculations | PAIR7a_1.2.276.0.75.2.1.10.0.2.160128102147093.15295058.31775_0000_000001_1453976616001f.dcm followed by PAIR7b_1.2.276.0.75.2.1.10.0.2.160128102147093.15295058.31775_0000_000001_14539767050020.dcm | 1009411 | F | Marla | Templer | 1945-12-23
1.18 | Multple files, ACD changes 1. Base file format (MF/SL) followed by 2. Same file with ACD changed manually | Required | First file should import normally. Second file should OVERWRITE first file lens calculations | PAIR5a_1.2.276.0.75.2.1.10.0.2.160128103002734.15295058.5685_0000_000001_14539772020024.dcm followed by PAIR5b_1.2.276.0.75.2.1.10.0.2.160128103002734.15295058.5685_0000_000001_14539773130027.dcm | 1009412 | M | Melville | Dawkins | 1976-06-28
1.19 | Multiple files, target ref changes, otherwise identical | Required | First file should import normally; second file should add lens options to the lens blocks | 0-1.2.276.0.75.2.1.10.0.2.151215152648562.15295058.31857_0000_000001_14501928990018.dcm followed by 1-1.2.276.0.75.2.1.10.0.2.151215152648562.15295058.31857_0000_000001_14501929230019.dcm | 1007953 | M | DarryL | Fellows | 1969-05-15
2 | Manually Edited Data
2.1 | Base File Format - AL set by dragging peaks | Required | Manual AL changes clearly indicated (*) Clear warning of changes to AL value | 1.2.276.0.75.2.1.10.0.2.160108113507359.15295058.16203_0000_000001_14522531890018.dcm | 1008000 | F | Destiny | Hush | 1963-05-13
|  |  |  | 1.2.276.0.75.2.1.10.0.2.151021094048625.15295058.16001_0000_000001_144541996800b2.dcm | 1007937 | F | Jennifer | Witter | 1923-05-12
|  |  |  | 1.2.276.0.75.2.1.10.0.2.151117110007687.15295058.8240_0000_000001_14477647140022.dcm | 1007941 | F | Margaret | Bromley | 1953-12-24
2.2 | Base file format - AL set in lens calculation | Required | Manual AL changes clearly indicated (*) AL value from lens calculation page displayed Clear warning of changes to AL value "Possible ultrasound" warning | 1.2.276.0.75.2.1.10.0.2.160108113128718.15295058.3792_0000_000001_14522528400017.dcm | 1008001 | F | Elizabeth | Willson | 1950-08-07
|  |  |  | 1.2.276.0.75.2.1.10.0.2.151001132816904.15295058.4603_0000_000001_14437072830153.dcm | 1007935 | F | Violet | Hopkins | 1927-07-28
2.3 | Base file format - K1 and K2 manually edited - K1 > K2 | Required | K values from lens calculation page Manual K changes clearly indicated (*) Clear warning of change to K values Cyl still shows negative No K axis | 1.2.276.0.75.2.1.10.0.2.160108115548390.15295058.25586_0000_000001_1452254380001f.dcm | 1008003 | M | Nevan | Johnson | 1934-07-24
2.4 | Biometry manually entered | Required | AL value from lens calculation page K values from lens calculation page No K axis Clear warning fo change to K values Clear warning of change to AL values | 1.2.276.0.75.2.1.10.0.2.160108114535343.15295058.1619_0000_000001_1452253637001a.dcm | 1008004 | F | Iris | Penberthy | 1936-08-19
|  |  |  | 1.2.276.0.75.2.1.10.0.2.160108114845218.15295058.12678_0000_000001_1452253744001b.dcm | 1008005 | M | Pete | Porter | 1962-07-26
|  |  |  | 1.2.276.0.75.2.1.10.0.2.160108115008125.15295058.21044_0000_000001_1452253837001c.dcm | 1007951 | F | Autumn | Ainsworth | 1977-03-03
|  |  |  | 1.2.276.0.75.2.1.10.0.2.151130164926500.27553_0000_000001_1448898761000b.dcm | 1007943 | F | Ruby | Bradley | 1929-01-17
2.5 | Biometry entered manually - K1 > K2 | Required | AL value from lens calculation page K values from lens calculation page Manual K changes clearly indicated (*) Manual AL changes clearly indicated (*) Cyl still shows negative No K axis Clear warning of change to K values Clear warning of change to AL values | 1.2.276.0.75.2.1.10.0.2.160108115217562.15295058.11066_0000_000001_1452254057001d.dcm | 1007952 | M | Reginald | Beck | 1939-02-22
|  |  |  | 1.2.276.0.75.2.1.10.0.2.151101134350734.15295058.4300_0000_000001_144638499800f5.dcm | 1007939 | F | June | Woodhouse | 1963-10-05
2.6 | Base file format - only one K-value overridden | Do Not Test | No need to test - same IOL Master behaviour if one or both K values are changed
2.7 | Base file format - K value overridden | Required | Manual K values clearly indicated (*) No K axis Clear warning of manual update to k values | 1.2.276.0.75.2.1.10.0.2.160108114138640.15295058.32197_0000_000001_14522534360019.dcm | 1008002 | F | Caroline | Burns | 1967-04-09
3 | SNR Data Issues
3.1 | Base file format - left eye single SNR bad (<1.6) | Do Not Test | Clear warning that single SNR value in left eye is bad | 1.2.276.0.75.2.1.10.0.2.150912122528187.15295058.30802_0000_000001_144205965900d7.dcm | 1007929 | F | Roxanne | Crofts | 1932-09-15
3.2 | Base file format - right eye single SNR bad (<1.6) | Do Not Test | Clear warning that single SNR value in right eye is bad | 1.2.276.0.75.2.1.10.0.2.151006105301578.15295058.18244_0000_000001_1444125266003f.dcm | 1007936 | F | Olivia | Farrington | 1920-02-22
|  |  |  | 1.2.276.0.75.2.1.10.0.2.150121153139671.15295058.15104_0000_000001_14381672290063.dcm | 1007913 | F | Agnes | Bray | 1970-10-06
3.3 | Base file format - both eyes have single SNR bad (<1.6) | Do Not Test | Clear warning that single SNR value in right eye is bad Clear warning that single SNR value in left eye is bad | 1.2.276.0.75.2.1.10.0.2.150805132749218.18931_0000_000001_14443050660083.dcm | 1007922 | M | Arthur | Watkin | 1922-07-14
3.4 | Base file format - left eye single SNR borderline (1.6-1.9) | Do Not Test | Clear warning that single SNR in left eye is borderline | 1.2.276.0.75.2.1.10.0.2.150121153139671.15295058.15104_0000_000001_14381672290063.dcm | 1007913 | F | Agnes | Bray | 1970-10-06
|  |  |  | 1.2.276.0.75.2.1.10.0.2.151117110007687.15295058.8240_0000_000001_14477647140022.dcm | 1007941 | F | Margaret | Bromley | 1953-12-24
3.5 | Base file format - right eye single SNR borderline (1.6-1.9) | Do Not Test | Clear warning that single SNR in right eye is borderline | 1.2.276.0.75.2.1.10.0.2.150911163947828.15295058.25940_0000_000001_144198601300bf.dcm | 1007928 | F | P | Eyob | 1954-07-07
3.6 | Base file format - both eyes single SNR borderline (1.6-1.9) | Do Not Test | Clear warning that single SNR in both eyes is borderline | 1.2.276.0.75.2.1.10.0.2.151024123718890.15295058.15471_0000_000001_1445686657003e.dcm | 1007938 | F | Stacey | Crosse | 1945-12-07
3.7 | Base file format - left eye composite SNR bad (<10) | Required | Clear warning that composite SNR value in left eye is bad | 1.2.276.0.75.2.1.10.0.2.151215150130968.15295058.11119_0000_000001_14501913800010.dcm | 1007944 | F | Iris | F | 1925-09-05
3.8 | Base file format - right eye composite SNR bad (<10) | Required | Clear warning that composite SNR value in right eye is bad | 1.2.276.0.75.2.1.10.0.2.150805132749218.18931_0000_000001_14443050660083.dcm | 1007922 | M | Arthur | Watkin | 1922-07-14
3.9 | Base file format - both eyes have composite SNR bad (<10) | Required | Clear warning that composite SNR value in left eye is bad Clear warning that composite SNR value in right eye is bad | 1.2.276.0.75.2.1.10.0.2.160120102042359.15295058.69_0000_000001_14532854760034.dcm | 1009402 | F | Jenny | Randell | 1949-07-08
3.10 | Base file format - combination single / composite SNR issues | Do Not Test | All appropriate warnings displayed | 1.2.276.0.75.2.1.10.0.2.150805132749218.18931_0000_000001_14443050660083.dcm | 1007922 | M | Arthur | Watkin | 1922-07-14
|  |  |  | 1.2.276.0.75.2.1.10.0.2.150121153139671.15295058.15104_0000_000001_14381672290063.dcm | 1007913 | F | Agnes | Bray | 1970-10-06
3.11 | Base file format - no left eye AL reading possible | Required |  | 1.2.276.0.75.2.1.10.0.2.150407100202125.15295058.1298_0000_000001_14284018720001.dcm | 1007916 | M | Gilbert | Bridgeman | 1939-05-25
3.12 | Base file format - no right eye AL reading possible | Required |  | 1.2.276.0.75.2.1.10.0.2.150922101018031.15295058.4145_0000_000001_14429138040046.dcm | 1007930 | M | Pete | Channing | 1927-05-12
3.13 | Base file format - no AL reading possible for either eye | Required |  | 1.2.276.0.75.2.1.10.0.2.150414160527109.7740_0000_000001_14290277760035.dcm | 1007917 | M | Howard | Zane | 1952-08-07
4 | Axial Length Data Issues
4.1 | Base file format - left eye AL short (<22mm) | Required | Clear warning that the left eye is short (not "bad data") | 1.2.276.0.75.2.1.10.0.2.160120094742125.15295058.28668_0000_000001_1453283657002c.dcm | 1009401 | F | Rhoda | Craik | 1955-03-07
4.2 | Base file format - right eye AL short (<22mm) | Optional | Clear warning that the right eye is short (not "bad data")
4.3 | Base file format - both eyes AL short (<22mm) | Required | Clear warning that the left eye is short (not "bad data") Clear warning that the right eye is short (not "bad data") | 1.2.276.0.75.2.1.10.0.2.150730144435359.15295058.931_0000_000001_14386161070010.dcm | 1007919 | F | Lucretia | Witter | 1952-05-22
4.4 | Base file format - left eye AL long (>25mm) | Required | Clear warning that the left eye is long | 1.2.276.0.75.2.1.10.0.2.160120100032531.15295058.28071_0000_000001_1453284456002f.dcm | 1009403 | M | Thomas | Willman | 1962-08-03
4.5 | Base file format - right eye AL long (>25mm) | Required | Clear warning that the left eye is long | 1.2.276.0.75.2.1.10.0.2.150825185405265.15295058.17010_0000_000001_1440525834016c.dcm | 1007924 | M | Vicary | Craik | 1937-10-16
4.6 | Base file format - left eye AL long (>25mm) - right eye AL long (>25mm) | Required | Clear warning that the left eye is long Clear warning that the right eye is long | 1.2.276.0.75.2.1.10.0.2.150316110220562.15295058.32767_0000_000001_14316813280080.dcm | 1007914 | F | Hannah | Blanchflower | 1933-05-17
4.7 | Base file format - right eye AL > left eye AL + 0.3mm | Required | Clear warning that ALs differ by > 0.3mm | 1.2.276.0.75.2.1.10.0.2.160120100032531.15295058.28071_0000_000001_14532845930030.dcm | 1009404 | F | Victoria | Passy | 1928-06-16
4.8 | Base file format - left eye AL > right eye AL + 0.3mm | Required | Clear warning that ALs differ by > 0.3mm | 1.2.276.0.75.2.1.10.0.2.160120100032531.15295058.28071_0000_000001_1453284456002f.dcm | 1009403 | M | Thomas | Willman | 1962-08-03
5 | ACD Data Issues
5.1 | Base file format - no ACD for left eye | Required | AL values displayed correctly White to White values displayed correctly Lens calculations displayed correctly | 1.2.276.0.75.2.1.10.0.2.160120101633125.15295058.10700_0000_000001_14532850490032.dcm | 1009406 | M | Abraham | Thurlow | 1948-05-14
5.2 | Base file format - no ACD for right eye | Required | AL values displayed correctly White to White values displayed correctly Lens calculations displayed correctly | 1.2.276.0.75.2.1.10.0.2.160120101120359.15295058.16877_0000_000001_14532847580031.dcm | 1009407 | F | Jill | Hudson | 1950-09-15
5.3 | Base file format - no ACD for left eye - no ACD for right eye | Required | AL values displayed correctly White to White values displayed correctly Lens calculations displayed correctly | 1.2.276.0.75.2.1.10.0.2.160120101633125.15295058.10700_0000_000001_14532850980033.dcm | 1009408 | F | Dorothy | Bridgeman | 1948-09-14
6 | White to White Data Issues
6.1 | Base file format - no White to White for left eye | Do Not Test | AL values displayed correctly ACD values displayed correctly Lens calculations displayed correctly | N/A
6.2 | Base file format - no White to White for right eye | Do Not Test | AL values displayed correctly ACD values displayed correctly Lens calculations displayed correctly | N/A
6.3 | Base file format - no White to White for left eye - no White to White for right eye | Do Not Test | AL values displayed correctly ACD values displayed correctly Lens calculations displayed correctly | N/A
7 | Multiple Data Issues
7.1 | Base file format - left eye single SNR bad (<1.5) - right eye single SNR bad (<1.5) - left eye composite SNR bad (<10) - right eye composite SNR bad (<10) - left eye AL short (<22mm) - right eye AL short (<22mm) - difference between L&R AL > 3mm - manually updated left AL - manually updated right AL - manually updated left K - manually updated right K - missing ACD left eye - missing ACD right eye - missing White to White left eye - missing White to White right eye | Do Not Test
8 | Miscellaneous
8.1 | Check that old biometry events (> 24hr old) can be edited | Required | Log in as non-admin user (may need creating). Open patient 1008005. Ensure the historic biometry event can be edited | N/A | 1008005
8.2 | Check that enabling manual biometry events results in being able to manually add a biometry event from Event section dialogue | Required | 1. Log in as admin user. 2. Set option "System / Settings / Enable manual biometry measurement entry" to "On". 3. Open any existing patient with no DICOM report waiting. 4. Attempt to create a manual biometry event 5. Expected result is that the event can be created and saved. | N/A
8.3 | Check that enabling manual biometry events results in being able to manually add a biometry event from DICOM file selector screen | Required | 1. Log in as admin user. 2. Set option "System / Settings / Enable manual biometry measurement entry" to "On". 3. Open any existing patient with a DICOM report waiting. 4. Create a biometry event 5. When presented with the "select DICOM file" list, check that the blue "I want to add a file manually" link is available, and click on it. 6. Attempt to create a manual biometry event 7. Expected result is that the event can be created and saved. | N/A
8.4 | Check that disabling manual biometry events results in not being able to manually add a biometry event from Event section dialogue | Required | 1. Log in as admin user. 2. Set option "System / Settings / Enable manual biometry measurement entry" to "Off". 3. Open any existing patient with no DICOM report waiting. 4. Attempt to create a manual biometry event 5. Expected result is that a warning is displayed and the user is returned tothe previous screen. | N/A
8.5 | Check that disabling manual biometry events results in not being able to manually add a biometry event from DICOM file selector screen | Required | 1. Log in as admin user. 2. Set option "System / Settings / Enable manual biometry measurement entry" to "Off". 3. Open any existing patient with a DICOM report waiting. 4. Create a biometry event 5. When presented with the "select DICOM file" list, check that the blue "I want to add a file manually" link does not display, | N/A